## Tenant Improvement Costs
Generic T&I pricing table | Presented by Chipman Relocations, to learn more, visit: |  |  | www.chipmanrelo.com
Square foot: | 0 | Use only if full remodel, otherwise itemize below
Interior Demolition | Unit | # |  | Total
Remove walls that are built under Tbar | Linear Feet |  | 22 | 0
Remove walls built through Tbar | L.F. |  | 35 | 0
Refeed & switch lighting in areas demolished | Room |  | 150 | 0
Repair wall scars where walls removed | Each |  | 190 | 0
Cabinets
Base and upper cabinets with top, Formica | L.F. |  | 395 | 0
Doors and Glass
Door and Frame, Clear maple, 3' x 7' | Each |  | 810 | 0
Door and Frame, Clear maple, 3' x10' | Each |  | 1105 | 0
Sidelight at doors listed above | Each |  | 510 | 0
Partitions and Paint
Partition wall, 9-10 feet, skip trowel finish | L.F |  | 61 | 0
Demising wall 16 - 20 feet - average cost | L.F |  | 90 | 0
Flat wall paint | Square Feet | 0 | 0.45 | 0
Semi-gloss wall paint | S.F. |  | 0.6 | 0
Flooring
Carpet demolition | S.F. | 0 | 0.038 | 0
Vinyl tile demolition | S.F. | 0 | 0.62 | 0
New carpet, direct glue down | S.F. | 0 | 2.37 | 0
Rubber base, 2" or 4" | L.F. |  | 2 | 0
Vinyl tile installed | S.F. | 0 | 1.8 | 0
Static dissipative tile (ESD) | S.F. | 0 | 7.1 | 0
Sheet vinyl in single accommodation restroom | Each |  | 900 | 0
Acoustic Ceiling
Acoustic ceiling, 2X4, flush panels | S.F. | 0 | 2.5 | 0
Acoustic ceiling, 2X4, "2nd Look" tiles | S.F. | 0 | 3.25 | 0
Electrical
110 volt convenience outlet | Each |  | 150 | 0
110 volt dedicated outlet - average cost | Each |  | 235 | 0
2 X 4 lay in flush prismatic light fixture | Each |  | 210 | 0
2 x 4 "Avante" style indirect lighting | Each |  | 340 | 0
Switch, light sensor, dual level | Each |  | 202 | 0
200 amp 240 v. subpanel w/100- home run | Each |  | 3750 | 0
Telephone / data ring | Each |  | 30 | 0
Emergency light or lit exit sign | Each |  | 310 | 0
Power pole | Each |  | 320 | 0
Simple PVC Cabling | per line |  | 100 | 0
Fire Rated Cabling | per line |  | 175 | 0
Air Conditioning
New open area system - see adds below | S.F. | 0 | 7.8 | 0
Add for each room- Supply and return air | Room |  | 605 | 0
Reconfigure existing AC system - average | S.F. | 0 | 3.5 | 0
Fire Protection (Sprinklers)
Sprinkler head dropped to new ceiling hgt | Head |  | 201 | 0
Existing heads relocated at new walls | Head |  | 185 | 0
Plans and permits, regardless of head # | Each |  | 2000 | 0
Subtotal of construction costs above |  |  |  | 0
Miscellaneous costs for assemblies when performed with other work
- includes all work necessary to provide:
12 x 12 office contiguous with others | Each |  | 4005 | 0
Single accommodation restroom | Each |  | 13150 | 0
Handicapped shower | Each |  | 5800 | 0
Wet bar plumbed - 8 feet long | Each |  | 4150 | 0
Replace roll up door with glass, 10 x 12 | Each |  | 3800 | 0
Subtotal of construction costs and misc assemblies |  |  |  | 0
General Conditions |  |  |  | 0
Insurance, gas, phone, multiply by line 37 | % |  | 0.02 | 0
Ongoing cleanup | S.F. | 0 | 0.21 | 0
Final janitorial service | S.F. | 0 | 0.35 | 0
Onsite and off-site management - average | % |  | 4% | 0
Construction Total with General Conditions |  |  |  | 0
Contingency's
Contingency - if total <$100,000 | % | 0 | 20% | 0
Contingency - if total >$100,000 | % | 0 | 10% | 0
Contractor's fee / varies with project size | % | 0 | 10% | 0
Total Estimated Tenant Improvement Costs |  |  |  | 0
Ticon Commercial Inspection performs pre-purchase and pre-lease property investigations for buyers and lessees of industrial, commercial, and retail property in Northern California. For more information, call: 408.396.5512